# Appendix E – Final Layout

The design of the Pilot Room, to be in place by September 2007 and discussed in Appendix D, is more complete than the rooms to be in place by September 2008 that are discussed here. A drawing of the final layout appears on the next page.

Implementation will require removal of the 6 walls separating MP123, MP124, MP125, MP125B and MP128, MP127, MP126, MP126B. The radiator on the North wall of MP123 must be removed. At least some parts of the wall separating MP125, MP126 must also be removed.

There are some remaining issues:

- Do we require emergency exits in place of the 3 ½ foot wide floor-to-ceiling windows in the North-East and North-West corners?

- The details of the central block, marked Technologists/Student Projects in the drawing, needs further design in consultation with our technologists.

- There are numerous radiators and floor-to-ceiling windows on the East and West walls. We do not know how they constrain the placement of the new walls indicated in the drawing.

- What are the heating/ventilation/air conditioning requirements for the central block? All of the radiators are on the outer walls.

- It appears that recently some of the old radiators in MP129, almost 3 feet high, were replaced with units closer to 2 feet high. Is that a viable thing for us to do?